# Photometer

Model: LUMISO EXPERT

Features:

Lumiso Expert is a robust multi-parameter photometer with an extensive range of testing parameters. For users operating in water maintenance industries, such as drinking water and wastewater who need to perform water analysis testing in-situ or in laboratory environments, across frequent and less frequently used parameters.

With an intuitive and accessible touchscreen navigation, which also works with wet and gloved hands, and simple to follow onscreen instructions, the Lumiso Expert can be used with little to no prior training. It’s robust IP67 waterproof design and construction ensures it can be used in situ in any environment. Lumiso Expert also benefits from easy results retrieval and data traceability for audit compliance purposes.

Features include:

- Robust construction – Impact tested to IK08 as part of EN61010. Scratch and chemical resistant coating.

- IP67 waterproof design – Designed for use in wet and humid environments.

- Large touchscreen interface – Intuitive and accessible with easy navigation, also works with wet and gloved hands.

- Multilingual onscreen instructions – Step-by-step instructions on performing tests with little to no prior training required.

- Data logging – Results are saved automatically, including test data, user, labels, and notes for audit and compliance.

- Data retrieval – Easy access to data via Palintest Connect.

## Specification

| Instrument Type | Multiparameter Photometer |
| --- | --- |
| Wavelengths | 430 nm, 465 nm, 530 nm, 575 nm, 620 nm |
| Peak Wavelengths | ±2nm |
| Accuracy | ± 1.0% T |
| Display | Full Colour TFT - 16:9 ratio screen, resolution 800 x 480 pixels |
| User Interface | PCAP touch panel |
| Size (WxLxH) and weight | 211mm x 195mm x 52mm, 850g |
| IP Rating | IP67 |
| Power Supply | 6 x AA 1.5V Batteries or Standalone USB |
| Connectivity | Via Windows App (USB) or Mobile App (QR Code) |
| User Defined Methods | Up to 30 additional methods |
| Memory Capacity | Access 1,000 results via device’s screen |
| Battery Life | 5,000 tests from a set of batteries |
| Certifications | EN61326, EN61010, IP67 and EN60068-2-78 |

## Additional Information

| Kit Contents | LUM7210 Lumiso Expert |
| --- | --- |
| Lumiso Expert Benchtop Instrument | ✓ |
| Dilution Tube | ✓ |
| Syringe, Luer Slip, 10 mL | ✓ |
| Polishing Cloth | ✓ |
| Test Tube Brush, 12 cm | ✓ |
| USB lead | ✓ |
| Quick Start Guide | ✓ |
| Absorbent cloth |  |
| Crush/Stir Rod | 10 |
| Cap for 15 mL Vial | 10 |
| 15 mL Snap Cap Vial | 10 |
| Lumiso Expert recycled plastic case | ✓ |
| Reusable Reagent Box | ✓ |